# PART CII - DM CAPACITY AND OFFTAKE RATE

## DM Capacity

### For the purposes of this Clause 1 the provisions of paragraphs 5.1.1 to 5.1.8 and 5.1.13 of Section G of the UNC shall apply with the following changes:

paragraph 5.1.1 shall be replaced with the following:

"except for paragraph 5.6, this paragraph 5 applies only in respect of DM Supply Points"

"the reference to paragraph 5.3.2 of Section G of the UNC in paragraph G5.1.4(c) shall be interpreted as a reference to paragraph 5.3.2 as incorporated into this Part CII by Clause 3.1"

the reference to paragraph 5.5 of Section G of the UNC in paragraph 5.1.5(b)shall be interpreted as a reference to Clause 5 of this Part CII.

the reference to paragraph 3 of Section V of the UNC  in paragraph G5.1.6 (a) shall be interpreted as a reference to Clause 21 of Part G of the Code (Code Credit Rules)

the references to paragraph 5 in paragraph 5.1.6(b) shall be interpreted as references "to this Part CII including those requirements of paragraph 5 of Section G of the UNC but only to the extent that they are incorporated into this Part CII and any other provision of the Code".

the reference to paragraph 5.3.2 of Section  G of the UNC  in paragraph G5.1.8 shall be interpreted as a reference to paragraph 5.3.2 as incorporated into this Part C (ii) by Clause 3.1

## Minimum Capacity Requirements

### For the purposes of this Clause 2 the provisions of paragraph 5.2 of Section G of the UNC shall apply with the following changes:

the reference to paragraph 5.5.5 of Section G of the UNC in paragraph G5.2.3(a)(ii) shall be interpreted as a reference to Clause 5.6 of this Part CII.

paragraph 5.2.3(d) shall not apply.

### paragraph 5.2.4(c) of Section G of the UNC  shall be replaced with the following:

### “where in the meantime the Pipeline User has submitted a Supply Point Confirmation which has become effective the Pipeline User may by submitting a Supply Point Reconfirmation revise (consistently with such reduced Prevailing DM Capacity but not retrospectively) the DM Capacity which it holds at the DM Supply Point.”

paragraph 5.2.7 shall not apply

paragraph 5.2.8 shall not apply

where in the meantime the Pipeline User has submitted a Supply Point Confirmation which has become effective the Pipeline User may by submitting a Supply Point Reconfirmation revise (consistently with such reduced Prevailing DM Capacity but not retrospectively) the DM Capacity which it holds at the DM Supply Point.

## Supply Point Offtake Rate

### For the purposes of this Clause 3 the provisions of paragraph5.3 of Section G of the UNC shall apply with the following changes:

### the reference to paragraph 5.5.4(c) of Section G on the UNC in paragraph 5.3.4 shall be interpreted as a reference to Clause 5.4(c) of this Part CII.

### the reference to paragraph 5.5.4 of Section G on the UNC in paragraph 5.3.5 shall be interpreted as a reference to Clause 5.4 of this Part CII.

Paragraph 5.3.7 shall not apply

### .

## Absolute Requirement

### For the purposes of this Clause 4 the provisions of paragraph 5.4 of Section G of the UNC shall apply with the following changes:

the words "provided that in the case of an NTS Supply Point the User's Supply Point Capacity shall be equal to 24 times the Supply Point Offtake Rate" at the end of paragraph 5.4.1 of shall be deleted

the reference to paragraph 5.3.2 (b) of Section G of the UNC in paragraph G5.4.3 shall be interpreted as a reference to paragraph 5.3.2 (b) as incorporated into this Part C (ii) by Clause 3.1.

paragraph 5.4.4 shall not apply.

### .

## Other Requirements

### For the Purposes of this Part C in respect of a DM Supply Point:

- the “Maximum DM Capacity” is the quantity which the Pipeline Operator determines to be the maximum quantity which it is feasible to make available for offtake in a 24 hour period at the DM Supply Point

- the “Maximum DM Offtake Rate” is the instantaneous rate of offtake (in kWh/hour) which the Pipeline Operator determines to be the maximum instantaneous rate at which it is feasible to make gas available for offtake at the DM Supply Point

in each case consistently with the requirements of Clause 5.

### The “Provisional Maximum DM Capacity” in respect of the DM Supply Point of a Supply Point (other than a Proposed Supply Point which is a New Supply Point) is whichever is the lesser of:

- 2 times the Prevailing DM Capacity; and

- 16 times the DM Offtake Rate or (in the case of a Proposed Supply Point) Nominated DM Offtake Rate.

### Where a Proposing User submits a Supply Point Nomination (a) for a Current Supply Point in which the Nominated DM Capacity exceeds the Provisional Maximum DM Capacity, or the Nominated DM Offtake rate exceeds the DM Offtake Rate for the Existing Supply Point or (b) for a New Supply Point:

- a Supply Point Offer will not be made until the Pipeline Operator has assessed whether it is feasible to make available gas for offtake at the Nominated DM Offtake Rate or (in a 24 hour period) in the amount of the Nominated DM Capacity;

- where the Pipeline Operator determines that the Nominated DM Capacity exceeds the Maximum DM Capacity the DM Capacity specified in the Supply Point Offer will be the Maximum DM Capacity;

- where the Pipeline Operator determines that the Nominated DM Offtake Rate exceeds the Maximum DM Offtake Rate, the DM Offtake Rate specified in the Supply Point Offer will be the Maximum DM Offtake Rate.

### Where the Registered User of a DM Supply Point (a) submits a Capacity Revision Application (for an increase) in which the increased DM Capacity exceeds the Provisional Maximum DM Capacity, or the DM Offtake Rate (applied for under Clause 3) exceeds the prevailing DM Offtake Rate or (b) applies for an increased DM Offtake Rate pursuant to Clause 3:

- the application will not be approved until the Pipeline Operator has assessed whether it is feasible to make available gas for offtake at the proposed DM Offtake Rate or (in a 24 hour period) in the amount of the proposed DM Capacity;

- where the Pipeline Operator determines that the increased DM Capacity applied for exceeds the Maximum DM Capacity, the application will be approved (if otherwise approved under this Part CII) for the Maximum DM Capacity;

- where the Pipeline Operator determines that the proposed DM Offtake Rate exceeds the Maximum DM Offtake Rate, the application will be approved (if otherwise approved under this Part CII where relevant) for the Maximum DM Offtake Rate.

### If for any reason on any Day (other than a Day in the months of June to September inclusive) the quantity of gas offtaken by a Pipeline User from the Pipeline at a Firm DM Supply Point exceeds the Pipeline User’s Registered DM Capacity such Pipeline User shall be deemed to have applied for an increase in its Registered DM Capacity pursuant to Clause 1 in an amount subject to Clause 5.6 equal to the sum of its Registered DM Capacity and the amount (“Capacity Ratchet Amount”) by which the aggregate quantity offtaken on such Day at all the DM Supply Meter Points in the DM Supply Point exceeds the Pipeline User’s Registered DM Capacity.

### Where, following a deemed application for an increase in capacity pursuant to Clause 5.5 the sum of the Capacity Ratchet Amount and the Pipeline User’s Registered DM Capacity (the “Ratcheted DM Capacity”) would exceed the Provisional Maximum DM Capacity:

- with effect from the following Day, and until the Pipeline Operator has assessed whether it is feasible to make available gas for offtake (in a 24 hour period) in the amount of such sum, the Ratcheted DM Capacity shall be equal to the Provisional Maximum DM Capacity;

- with effect from the time at which the Pipeline Operator has assessed such feasibility, the Ratcheted DM Capacity shall be equal to the lesser of:

- the Maximum DM Capacity; and

- the sum of the Pipeline User’s Registered DM Capacity (immediately before the occurrence of the circumstances in Clause 5.5) and the Capacity Ratchet Amount;

- the Pipeline Operator will inform the Registered User of the Ratcheted DM Capacity determined under paragraph (b) as soon as reasonably practicable after assessing such feasibility.

### Unless the Pipeline Operator's Network Code provides otherwise, in the circumstances in Clause 5.5, the Pipeline User shall pay a charge (the “Supply Point Ratchet Charge”) in respect of the Capacity Ratchet Amount in accordance with Clause 5.9.

### Unless the Pipeline User’s Registered DM Capacity is increased other than pursuant to the deemed application made pursuant to Clause 5.5 until the last Day of the calendar month in which the circumstances in Clause 5.5 occurred, the Transportation Charges payable in respect of the Supply Point shall be determined on the basis of the Pipeline User’s Registered DM Capacity on the Day on which the circumstances in Clause 5.5 occurred (and not on the basis of the Ratcheted DM Capacity).

### The Supply Point Ratchet Charge shall be calculated as the Capacity Ratchet Amount multiplied by the sum of:

- 2 times the Applicable Annual Rate of the charge for Pipeline Capacity; and

- 2 times the Applicable Annual Rate of the Capacity Variable Component of the Customer Charge;

the rate in each case being determined by reference to the sum of the Capacity Ratchet Amount and the Pipeline User’s Registered DM Capacity at the DM Supply Point and the Registered Offtake Capacity at any NDM Supply Point on the Day on which circumstances in Clause 5.5 occurred.

### The Supply Point Ratchet Charge will be invoiced and payable in accordance with Part G

## Maximum NDM Offtake Rate

### For the purposes of this Clause 6 the provisions of paragraph 5.6 of Section G of the UNC shall apply..