## IGT UNC Code Change Tracker
RG008 IGT UNC Code Change Tracker Last updated on 23/07/2026
IGT UNC (13.25) | [9 empty] | UNC Cross References & Related Code Provisions
Part | Clause | IGT Specific? | Current IGT UNC Code Text | Review Comments | Housekeeping Change? | Material Change? | Housekeeping Changes Required to IGT UNC Code Text | Material Changes Required to IGT UNC Code Text | Status of updates | Section | Paragraph | UNC Code Text | Review Comments
CI | 4 | TBC | Reference Part CI 4 in full code. | Consistency issue, where in some cases there is a space between a clause number and bracket, and other cases not. Example: 1.1.1(a) vs. 1.1.1 (a) | Yes | No | Ensure there is consistency regarding spaces between a clause number and bracket. Options to consider: never have a space, always have a space (1.1.1(a) vs. 1.1.1 (a))
CII | 5.6(a) | TBC | (a) with effect from the Day following the Day on which the Supply Point Ratchet occurred, and until the Pipeline Operator has assessed whether it is feasible to make available gas for offtake (in a 24 hour period) in the amount of such sum, the Ratcheted DM Capacity shall be equal to the Provisional Maximum Supply Point Capacity; | There is some red text within the Code provisions. | Yes | No | Change colour of red text to black | N/A | Completed as part of Feb 2026 release.
CIII | 2.1 | TBC | 2.1 Where a Pipeline User is to become the Registered User of one or more Interruptible Supply Points the Pipeline User shall promptly provide to the Pipeline Operator copies of the details provided to the Large Transporter as referred to in Section B 8.6.1, B8.6.2 and B8.6.3 of the UNC. | References Section B of the UNC 8.6.1, B8.6.2, and B8.6.3 - Being a bit picky here, but not sure the Bs are necessary after the first mention of Section B. | Yes | TBC | Approach to change to be agreed with Review Group. Options to consider: always put UNC Section refernce before paragraphs when section has been mentioned in the paragraph or vise versa.
E | 1.2 | TBC | …..the reference to paragraph 5.14 of Section M of the UNC in paragraph 5.1.2 (e) shall be interpreted as a reference to paragraph 5.14 as incorporated into this Part E by Clause 15.1The references to " paragraph 5" in paragraphs 5.1.4 and 5.1.6 shall be interpreted as references to the applicable provisions of Part E including those elements of paragraph 5 of Section M of the UNC incorporated into this Part E...... | "Clause 15.1The references to " paragraph 5" in paragraphs 5.1.4 and 5.1.6 shall be" Need to add a space between Clause 15.1 and The References. Also need to check if this should be a new paragraph or not. | Yes | No | Add a space between "Clase 15.1" and "The References". Check whether a new paragraph start is needed.
E | 11.1.3 | TBC | ….the reference to paragraph 4.2.12 ofTPD Section M of the UNC in Clause 11.1.3 (b) above shall be interpreted as a reference to paragraph 4.2.12 of Section M of the UNC as incorporated into this Part E by Clause 2.1…. | "the reference to paragraph 4.2.12 ofTPD Section M" Need to add a space after the word of. | Yes | No | Add a space after the word "of".
E | 11.1.4 | TBC | 11.1.4 Where here the Pipeline Operator has initiated a Meter Read pursuant to Clause 11.1.2, and (before such Meter Read takes place) the Pipeline User subsequently submits a Valid Meter Reading in respect of the relevant Supply Meter, the Pipeline User will endeavour to cancel the Meter Read, but the Pipeline User will be liable to make payment pursuant to Clause.1.2 (b) irrespective of whether such Meter Read is so cancelled. | "Where here the" Here needs removing. | Yes | No | remove the word "here".
E | 11.1.7(c) | TBC | (c) if and for so long as the Pipeline User fails to comply with Clause (a) and (b), to agree to a scheme under which the Pipeline Operator will (at the Pipeline Users expense on the same basis as under Clause 11.1.2 (b) obtain sufficient Meter Readings from time to time each month to remedy the Pipeline Users failure to comply with paragraph 5.9.7 (b) or 5.9.9 – 5.9.12 of TPD Section M of the UNC as incorporated into this Part E by Clause 10.1. | "which the Pipeline Operator will (at the Pipeline Users expense on…" This was taken from the UNC were the open bracket has no close bracket. This is an error in the UNC TPD Section M 5.10.8, as well as here. Needs to finish at "… a under Clause 11.1.2 (b))" | Yes | No | Add a close bracket at "… a under Clause 11.1.2 (b))"
E | 11.7 | TBC | 11.7 The CDSP shall provide information to the Performance Assurance Committee to enable the Performance Assurance Committee to maintain oversight over the Supply Meters that are excluded from the provisions of Clause 11.1.1the Supply Meters whose inclusion in the provisions of Clause 11.1.1 is delayed for a period of up to 80 Supply Point Business Days. | "Supply Meters that are excluded from the provisions of Clause 11.1.1the Supply" Need to add a space after Clause 11.1.1 and the. | Yes | No | Add a space after "Clause 11.1.1".
G | 4.9 | TBC | 4.9 Subject to PART CI paragraph 7.1 and PART CV paragraphs 2.3 and 2.9 and PART G paragraphs 9.1 and 9.2, where an invoice is issued to a Pipeline User that relates to use of a Pipeline for the period commencing on or after the Project Nexus Implementation Date the IGT UNC Operator must ensure that any Transportation Charges for a Supply Meter Point are only included in the invoice where the Supply Meter Point is recorded in the name of that elected Pipeline User by the Pipeline Operator Agency for the entire period to which the Transportation Charges relate. | All references to parts are fully capitalised. Other references to IGT UNC Parts are lower case. | Yes | No | Review use of capitalisation of the word "Part" within code.
G | 4.10. | TBC | 4.10 Subject to PART CI paragraph 7.1 and PART CV paragraphs 2.3 and 2.9 and PART G paragraphs 9.1 and 9.2, where a Supply Meter Point is recorded in the name of an elected Pipeline User by the Pipeline Operator Agency for the entire period to which the Transportation Charges relate then that Pipeline User is liable to pay such Transportation Charges. | All references to parts are fully capitalised. Other references to IGT UNC Parts are lower case. | Yes | No | Review use of capitalisation of the word "Part" within code.
G | 9.2.4(d) | TBC | (d) Unless otherwise requested by the Pipeline User, the Pipeline Operator will issue the notification to the iGT UNC Contract Manager. | "iGT UNC Contract Manager" Lowercase I. this could be checked across code. | Yes | No | Replace lowercase "i" with uppercase.
G | 21.1 | TBC | 21.1 Provision of Cover For the purposes of this Part G: (a) "Code Credit Rules" are the rules so entitled and established and revised from time to time by the Pipeline Operator; (b) "Code Credit Limit" is an amount representing a Pipeline User's limit of indebtedness to the Pipeline Operator as more particularly defined in the Pipeline Operator's Network Code. | Text is showing red and not black. | Yes | No | Change red text to black. | N/A | Completed as part of Feb 2026 release.
G | 21.1.1.1 | TBC | 21.1.1.1 For clarity, the provisions of this Clause 21 refers only to Collateral collected against Transportation Charges. | The text font is larger than the rest of the font is the code. | Yes | No | Ensure text is all the same size.
G | 21.2.13A | TBC | 21.2.13A The Pipeline Operator shall give the Pipeline User notice of any adverse change in the calculation of the Payment Record Factor pursuant to Clause 21.2.14. | So this maybe my lack of understanding but there is 21.2.13A, and a 21.2.13 (a). Should 21.2.13A not be 21.2.13 (f), or even 21.2.14? This latter option would require renumbering of the code section. | Yes | TBC | Check references and formatting. Likley this is as a result of additional next needing to be added but without renumbering the entire rest of the code Section. The Code Administrator suspects this was done with intent to ensure that the text sat where it needed to within the code but ensured that re-numbering was not needed.
K | 7.1(f) | TBC | (f) where the Pipeline Operator becomes aware that there is not in force in respect of the Pipeline User either a transportation arrangement with a Pipeline Delivery Facility Operator pursuant to the Pipeline Delivery Facility Operator's Network Code (where such Pipeline Delivery Facility Operator has a Gas Transporter Licence)_or an arrangement with a Pipeline Delivery Facility User for the delivery of gas at the Pipeline Entry Point. | "(where such Pipeline Delivery Facility Operator has a Gas Transporter Licence)_or" there is a random underscore that should be removed. | Yes | No | Remove underscore.
K | 23 | TBC | Reference whole of 23 directly in code. | 23.6 to 23.10 - red text is present. | Yes | No | Change red text to black.
L | 2.6 | TBC | 2.6 Each Pipeline Operator and each Pipeline User shall notify to the Code Administrator a Change Administrator including details of their electronic mail address. | "electronic mail" Email is used more consistently elsewhere. Should check the code. | Yes | TBC | Amending this would could be considered as material. Email is the term used in IGT174, which will be implemneted in June 2026 and seeks to align the use of terms for Email and also remove other communication methods. The Review Group should consider aligning the use of electronic mail with the terms under that Mod generally.
L | 3.1(f) | TBC | (f) the provision of advice in relation to the operation oand effect of an IGT UNC Derogation if implemented in the IGT UNC. | "to the operation oand effect" "And" is spelt incorrectly. | Yes | No | Correct the spelling of "and".
L | 18.10. | TBC | 18.10 Where the Modification Proposal is a European Modification Proposal or a Significant Code Review Modification Proposal the European Modification Proposal or Significant Code Review Modification Proposal will proceed in accordance with the Modification Rules subject to any changes required by Clause 31. | Consistency issue, where in some cases there is a space between a clause number and bracket, and other cases not. Example: 1.1.1(a) vs. 1.1.1 (a) | Yes | TBC | To be considered by the Review Group. A change to this may be considered as material.
L | 23.1.1(c) | TBC | (c) where the Modification Proposal is not a Self-Governance Modification Proposal, the Code Administrator may invite each IGT UNC Operator, each User, Affected Person (if any) to make representations in respect of whether such Modification Proposal should not be a Self-Governance Modification Proposal. | "where the Modification Proposal is not a Self" The N on not is in italics. Either the whole word is intended to be italic, or none of it at all. | Yes | No | Make sure italics is used consistently.
L | 23.2.2 | TBC | 23.2.2 Where the IGT UNC Modification Panel has determined that legal text is required, then within one Business Day of receiving such Draft Modification Report the Code Administrator shall circulate the Draft Modification Report to the next meeting of the IGT UNC Modification Panel and subject to Clause 23.2.3, within one (1) Business Day following the date upon which the IGT UNC Modification Panel meeting is convened, the Code Administrator shall circulate it to each IGT UNC Operator, each Member, each Pipeline User, each Third Party Participant and each Affected Person (if any) inviting them to make (or withdraw earlier) representations to the IGT UNC Operators within fifteen (15) Business Days following the date of that invitation. | "upon which the IGT UNC Modification Panel meeting is convened, the" IGT UNC Modification Panel is a defined term, but meeting is being made bold feels like a mistake, and the IGT UNC section not being bold too. | Yes | No | Check bolding of defined terms.
M | Definitions | TBC | “Industry Code” means a multilateral code or agreement created and maintained pursuant to a licence granted by the Aughroty under sections &, 7ZA or 7A of the Gas Act 1986 or section 6 of the Electricity Act 1989, including the Uniform Network Code, Retail Energy Code and the Smart Energy Code; | "industry code" , "maintained pursuant to a licence granted by the Aughroty under" Presume Aughroty is meant to be Authority. | Yes | No | Correct the spelling of "Authority".
M | Definitions | TBC | "Value at Risk” has the meaning given to that term in Part G Clause 21.2.2.1; | "Value at Risk" A defined term but is not bold, unlike the rest of the defined terms. | Yes | No | Bold the defined term.
M | 2.5.3 | TBC | 2.5.3 The Parties authorise the CDSP to provide data to permitted data recipients in accordance with the DPM, subject to the further provisions of this paragraph 2.6. | "… subject to the further provisions of this paragraph 2.6." 2.5.3 is in a smaller font than the rest of the list numbers. There is also no 2.6 in the paragraph. This should be 2.5 | Yes | TBC | Check references and update if nessessary.
P | 1.2 - 9.1 | TBC | Reference 1.2 through 9.1 within code. | References UNC TPD Section V 16.1.1 (a), V16.1.1 (b) etc. Being a bit picky here, but not sure the Vs are necessary after the initial reference. | No | TBC | Check use of Part reference in cross referencing and ensure consistency.
P | 7.1 | TBC | 7.1 -For the purposes of this clause 7.1 the provisions of TPD Section V16.14 of the UNC shall apply. | "-For the purposes of" Has an unnecessary dash ahead of for. | Yes | No | Remove dash.
CI | 1.1 | TBC | For the avoidance of doubt the specific governance procedures set out in Part K 43 (General Provision Relating to IGT UNC Ancillary Documents) | Should now be 'Part K 42' | Yes | TBC | TBC
CI | 3.1 | TBC | the references to "Transporter" in paragraphs 2.1.5(a) and 2.1.6(c) shall be interpreted as a references to the "Large Transporter" | There is no reference to 'Transporter' in UNC2.1.5(a) - should this be UNC2.1.5(b)? | Yes | TBC | TBC
CI | 4 | TBC | the reference to paragraph G3.5 of the UNC in paragraph G2.2.1(c) shall be interpreted as a reference to paragraph G3.5 as incorporated into Part CI by Clause 2.11 of Part CI | There is no reference to UNCG3.5 in UNCG2.2.1© | Yes | TBC | TBC
CI | 4 | TBC | the reference to paragraph G2,1 of the UNC in paragraph G2.2.1 shall be interpreted as a reference to paragraph G2.1 as incorporated into Part CI by Clause 3.1 of Part CI | Should this say 'Part D' instead of E, as D relates to supply meter installation? | Yes | TBC | TBC
CI | 5.1 | TBC | In accordance with Part E a Supply Meter Installation is required to be installed at each Supply Meter Point; but a point may be a Supply Meter Point notwithstanding that no such installation is installed at such point. | Clause 8 incorporates UNCM5.8, no reference to UNCM1.5 - should this be Clause 1 instead? | Yes | TBC | TBC
CI | 5.1 | TBC | the reference to Section M1.5.3(e) in paragraph 2.3.7(e) of the UNC shall be interpreted as a reference to Section M1.5.3(e) as incorporated into the IGT UNC by Clause 8 of Part E | There is no reference to UNCH3.2 in F4.1 | Yes | TBC | TBC
CI | 5.1 | TBC | the references to Section H3.2 in paragraph 2.3.9(b) and 2.3.13(b) of the UNC shall be interpreted as references to Section H3.2 as incorporated into the IGT UNC by Clause 4.1 of Part F | There are no clauses 20.3, 20.4 and 20.6 in CI. Should these be 11.3, 11.4 and 11.6? | Yes | TBC | TBC
CI | 11.3 | TBC | To assist the Last Resort User in exercising its rights and discharging its obligations in respect of the Terminated Supply Meter Points, the CDSP shall use reasonable endeavours, subject to Clauses 20.4 to 20.6 to provide to the Last Resort User on the day of issue a copy of the TSMP Information. | There are no clauses 20.4 to 20.6 in CI. (11.4 and 11.6?) | Yes | TBC | TBC
CI | 11.4 | TBC | By virtue of this Clause 20.4, the Discontinuing User hereby is deemed to have given its written consent for the purposes of both Part K and Section 105 of the Utilities Act 2000 to the Pipeline Operator to disclose to the Last Resort User the TSMP Information pursuant to Clause 20.3. | There is no clause 20.3 (should be 11.3?) | Yes | TBC | TBC
CI | 11.5 | TBC | the TSMP Information disclosed to it pursuant to Clause 20.3 above shall not have been independently verified; | There is no clause 20.3 (should be 11.3?) | Yes | TBC | TBC
CI | 11.6 | TBC | For the purposes of Clause 20.3, the Last Resort User shall execute all such documents, deeds and assignments and perform such acts as the Pipeline Operator may reasonably require, including without limitation, executing any relevant documents, deeds and assignments or perform such acts necessary to ensure compliance with the provisions of the Data Protection Act 2018. | There is no clause 20.3 (should be 11.3?) | Yes | TBC | TBC
CI | 12.1 | TBC | For the purposes of this Clause 21 the provisions of TPD Section G4.5 through G4.7 of the UNC shall apply with the following changes: | Should this say 'Clause 12'? | Yes | TBC | TBC
CI | 22.2 | TBC | The reference to H2 in paragraph 10.2.3 (a) shall be interpreted as a reference to H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F of this Code. | This should be 10.3.2(a) | Yes | TBC | TBC
CII | 4.1 | TBC | A potential housekeeping amendment in Paragraph 4. There is a reference to Paragraph 5(c) of Annex B3 of the UNC which does not exist. | It was suggested that it means to refer to Paragraph 5.1(c). | Yes | TBC | TBC
CII | 5 | TBC | A member highlighted a potential housekeeping amendment in Paragraph 5, noting 5.1(b)(i) is currently showing as 5.1(b)(j). | Suggested that the reference might need to be (i) rather than (j). | Yes | TBC | TBC
CIV | 3.2 | TBC | For the purposes of this Clause 3.2 the provisions of paragraph 7.2 of Section G of the UNC shall apply with the following changes: the reference to Section H2 of the UNC in paragraph 7.1.3 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F. | 7.1.3 is not in 7.2 and does not reference H2. Should this be 7.2.2 instead? | Yes | TBC | TBC
CIV | 4.1 & 6.1 | TBC | - | Indentation/formatting of lists of changes to UNC text is not consistent. Is left justified here, but indented elsewhere. | Yes | TBC | TBC
CIV | 6.1 | TBC | the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.6.2(b) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.7.2(a) | the words in UNC are actually "in accordance with the Siteworks Terms and Procedures (as defined in Annex G-3) " - no 'section'. | Yes | TBC | TBC
CIV | 6.1 | TBC | the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" | Needs quotation marks after Customer Charges. | Yes | TBC | TBC
CV | 2.4 | TBC | The words “paragraph 5” in paragraph 4.3.7(a) shall be replaced with “paragraph 5 as incorporated into the Code by Part CI” | Looks like the UNC reference should be 3.4.7(a) | Yes | TBC | TBC
CV | 2.4 | TBC | The reference to paragraph 5.13.16(a) of Section M of the UNC in paragraph 3.4.8(a)(i) and 3.4.8(a)(ii) shall be interpreted as a reference to paragraph 5.13.16(a) as incorporated into the Code by Clause 14.1 of Part E. | The reference in UNC is M5.13.17(a) | Yes | TBC | TBC
CIV | 3.2 | TBC | Clause 3.2 has an outdated reference to UNC TPD G7.1.3. | Believe the reference needs changing to UNC TPD G7.2.2. | Yes | TBC | TBC
CIV | 3.4 | Yes | There in inconsistency within 3.4 in terms of how it states that 7.3.3 of Section G shall not apply. | Updated it to ensure consistency. Also note that 7.3.3 refers to shared supply points. | Yes | TBC | TBC
CIV | 6.1 | TBC | 6.1 For the purposes of this Clause 6.1, the provisions of paragraph 8 of Section G of the UNC shall apply with the following changes: the reference to paragraph 7.2.4 of Section G of the UNC in paragraph G8.1.2 shall be interpreted as a reference to paragraph 7.2.4 as incorporated in this Part CIV by Clause 3.2 the reference to Section H2 of the UNC in paragraph 8.1.4 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.2.1(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.1(b)(i) the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(b)(iii) paragraph 8.3.1(c) shall not apply the reference to "Capacity Charges and Customer Charges" in paragraph 8.3.1(d)(i) shall be interpreted as a reference to "Transportation Charges" the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(d)(iii) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.3(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.4.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.1.2(b) an Offtake Reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.4.1(b) the words "and Energy Balancing" shall be deleted from paragraph 8.5.1(b) the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" the words "and Energy Balancing Charges" shall be deleted from paragraph 8.5.2(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) paragraphs 8.5.3 shall not apply the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.1(b) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.6.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.3(c)(ii) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.7.2(a) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.2(b) the words “and in respect of Energy Balancing Charges for which the User is liable pursuant to paragraph 8.2.1(b) an Offtake Reconciliation will be carried out in accordance with Section E6.” shall be deleted from paragraph 8.7.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.4(c) | noted that 6.1 incorrectly refers to Annex 6-3 as Section Annex G-3. This occurs several times in this Part. | Yes | TBC | TBC
CIV | 6.1 | TBC | 6.1 For the purposes of this Clause 6.1, the provisions of paragraph 8 of Section G of the UNC shall apply with the following changes: the reference to paragraph 7.2.4 of Section G of the UNC in paragraph G8.1.2 shall be interpreted as a reference to paragraph 7.2.4 as incorporated in this Part CIV by Clause 3.2 the reference to Section H2 of the UNC in paragraph 8.1.4 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.2.1(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.1(b)(i) the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(b)(iii) paragraph 8.3.1(c) shall not apply the reference to "Capacity Charges and Customer Charges" in paragraph 8.3.1(d)(i) shall be interpreted as a reference to "Transportation Charges" the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(d)(iii) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.3(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.4.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.1.2(b) an Offtake Reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.4.1(b) the words "and Energy Balancing" shall be deleted from paragraph 8.5.1(b) the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" the words "and Energy Balancing Charges" shall be deleted from paragraph 8.5.2(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) paragraphs 8.5.3 shall not apply the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.1(b) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.6.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.3(c)(ii) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.7.2(a) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.2(b) the words “and in respect of Energy Balancing Charges for which the User is liable pursuant to paragraph 8.2.1(b) an Offtake Reconciliation will be carried out in accordance with Section E6.” shall be deleted from paragraph 8.7.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.4(c) | noted a missing quotation mark in a clause in 6.1 referencing NTS Exit Commodity Charges | Yes | TBC | TBC
CV | 2.5 | TBC | No text in code at all under 2.5. | Clause 2.5, it was added that the Code Administrator will check to see if this clause was meant to be removed previously or perhaps someone clicked enter when introducing the paragraph above and "2.5" was left in the document. | Yes | TBC | TBC
CV | 2.4 |  | 2.4 For the purposes of the Code, paragraphs 3.4.1(d)(i), 3.4.1(e)(i)and 3.4.4 through 3.4.9 of Section G of the UNC will apply with the following changes Paragraph 3.4.6(b) shall not apply. The words “paragraph 5” in paragraph 4.3.7(a) shall be replaced with “paragraph 5 as incorporated into the Code by Part CI” Paragraph 3.4.7(b) shall not apply The reference to paragraph 5.13.16(a) of Section M of the UNC in paragraph 3.4.8(a)(i) and 3.4.8(a)(ii) shall be interpreted as a reference to paragraph 5.13.16(a) as incorporated into the Code by Clause 14.1 of Part E. Paragraph 3.4.8(d) shall not apply | Clause 2.4 incorrectly references Paragraph 4.3.7(a) and suggested that it should be 3.4.7(a). There is also an incorrect reference to 5.13.16(a) which should be 5.13.17(a)
RED text indicates updates from previous published version.

## IGT Specific Code Provisions
RG008 IGT Specific Code Provisions Last updated on 23/07/2026
IGT UNC (13.25)
Part | Clause | Process/Area | Summary of IGT Specific Code Provisions | Review Group Comments
CI | 1.1 | CSEP NExA Tables | CSEP NExA Tables definition "CSEP NExA Tables" is the IGT UNC Ancillary Document so entitled and issued from time to time by the Pipeline Operator and which will be subject to the Modification Rules as set out in Part L. For the avoidance of doubt the specific governance procedures set out in Part K 43 (General Provision Relating to IGT UNC Ancillary Documents) will not be applicable to this particular IGT UNC Ancillary Document; | CSEP NExA Tables are unique to IGTs
CI | 1.2 | Shared supply points | Specifies that only one Pipeline User can be a registered user: Only one Pipeline User may be the Registered User in respect of a Supply Point. | The IGT UNC does not allow for shared supply points, unlike the UNC.
CI | 1.5 | CSS Supply Meter Point | (d) All Supply Meter Points are CSS Supply Meter Points. | IG176 has been approved but not implemented and it will back this out so this will no longer be a nuance at some point in the future. However, until IGT176 is implemented, it is considered a nuance.
CI | 2.8 | Supply Point Registration | 2.8 Where this Clause 2.8 applies, subject to Clause 2.9, the Pipeline Operator will use reasonable endeavours, within 15 Supply Point Systems Business Days after agreeing (as described in Clause 2.7(d)) to do so during normal business hours, or on or by such later date and time as the Pipeline Operator and the Pipeline User may agree, to visit the Supply Point Premises and (subject to being given the required access) investigate the relevant matter. | Check that the 15 supply point system business days is the same as the UNC. Also, check definition against UNC for completeness.
CI | 3.1 | None application of UNC provision | 3.1 For the purposes of this Clause 3.1 the provisions of paragraph 2.1 of Section G of the UNC shall apply with the following changes: paragraph 2.1.4 shall not apply; | Check why 2.1.4 is not applying under 3.1.
CI | 3.2 | Class 1 Read Provider | (c) “Class 1 Read Provider” refers to the CDSP in their capacity for providing the Class 1 Daily Read Service as per the Data Services Contract. | The UNC does not have this definition
CI | 3.3 | LDZ CSEP Ancillary Agreement | 3.3 If the Large Transporter determines pursuant to the terms of the LDZ CSEP Ancillary Agreement and notifies the Pipeline Operator that it would not be practicable or economic for the Class 1 Meter Read Requirements to be satisfied in respect of a particular Supply Meter Point, the Class 1 Requirement shall not apply (and for the avoidance of doubt the Supply Meter Points shall not be in Class 1). LDZ CSEP Ancillary Agreement referenced. | There are agreements with distrubiton networks so that when an IGT connects a specific CSEP to the network, there is an individual network agreement for said CSEP. So these are very specific to this code. It’s the needs of these individual sites that is set out in the CSEP. NOTE: CAA under the UNC - there has to be an agreement with upstream transporters, though it is not a tripartied agreement, but there is an agreement that the transporter maintains the gas flow but its not needed in the UNC now as the DNs don't need it. So there will need to be some consideration of this.
CI | 4 | Changes in Supply Point Classifications | All of clause 4. | Check all of clause 4 against IGT176 to determined the impact on nuances and whats left.
CI | 5 | Supply Meter Point and Business Day Definitions | - | Check definitions between UNC and IGT UNC. The cross reference is General C 2.2.1(b), they have it simular but Business Day means a day other than a saturaday or a Sunday or is a bank holiday in england and wales.
CI | 5.3 | Supply Meter Point and Business Day | 5.3 In this Part C and Parts D and E any reference to a "Business Day" is a reference to a Day other than: (a) a Saturday, Sunday or a bank holiday in England and Wales; and (b) the Day which would (but for this paragraph (b)) be the first Business Day after 1st January. 5.4 In this Parts C and Parts D and E any reference to a “Supply Point Systems Business Day” is a reference to a Day other than a Saturday, Sunday or a bank holiday in England or Wales. | Check defintions against the UNC.
CI | 6 | Annual Quantity | All of clause 6. | IGTs need to keep - Not in the UNC. Starting AQ for an IGT site is based on NExA tables.
CI | 6.2 | Annual Quantity | RPC Entry Annual Quantity defintion | IGTs need to keep - Not in the UNC.
CI | 6.4 | Annual Quantity | "IGT CSEP NExA Table Review Procedures Document" definition "Annual updates to the AQ values within the CSEP NExA Table" defintion “IGT CSEP NExA Table Review Procedures Document" definition "Supply Point Capacity" definition | IGTs need to keep - Not in the UNC.
CI | 8.1 | Supply Point Registration | All of clause 8. | IGT176 checks and the shall not aplies
CI | 8.2 | Supply Point Registration | 8.2 Supply Point Registration For the purposes of this Clause 8.2 the provisions of Section G5.1 of the UNC shall apply. | Check how much of G5 may be relevant
CI | 9.1 | Supply Point Registration | (a) a number of Smaller Supply Points each of which is a New Supply Point and each of which is at Supply Point Premises that are domestic premises and/or a number of Large Supply Points each of which is a New Supply Point and each of which is at Supply Point Premises that are domestic premises are in the process of being established by a person (the "Developer") and connected to the Pipeline; and | Check use of "developer"
CI | 9.2 | Supply Point Registration | 9.2 Where this Clause 9.2 applies, the Pipeline Operator, subject to the Shipper being a Pipeline User, will issue a Project Summary Report to invite the Shipper to become the Initial Registered User by submitting Initial Supply Point Confirmations as a Project Summary Notification and both the Pipeline Operator and Shipper will adhere to the principles and supporting business rules as set out in the IGT UNC Ancillary Document IGT's New Connections Domestic Sites Only. | Project Summary Notification, IGT UNC Ancillary Document IGT's New Connections Domestic Sites Only.
CI | 9.3 | Supply Point Registration | 9.3 The submission of a Project Summary Notification as referred to in Clause 9.2 will require: | Project Summary Notification under
CI | 9.4 | Supply Point Registration | 9.4 Where in respect of a New Supply Meter Point a Pipeline User other than that which has submitted a Project Summary Notification under Clause 9.2 becomes the first Registered User with the CDSP, then such Pipeline User shall be deemed to be the Registered User at the First Supply Point Registration Date. | Project Summary Notification under, New Supply Meter Point
CI | 10 | Supply Point Registration | All of clause 10 | Check use of "developer", reference to IGT UNC Ancillary Document IGT Non-Domestic New Connections, refereces to Project Summary Notification, LDZ CSEP Ancillary Agreement
CI | 11.1 | SOLR | (a) Operator (under Part K) all Supply Meters in respect of which the Discontinuing User was the Registered User immediately prior to the User Discontinuance Date shall be known as the "Terminated Supply Meter Points". | "Terminated Supply Meter Points". In IGT UNC not UNC
CI | 19 | IGT Referral | Pipeline operator Referral (Some of the UNC disapplied - referenced going forward as 'application') | -
CI | 19 | Pipeline Operator Referral | Paragraphs 4.3.1(a)(iv) and 4.3.1(b) do not apply the references to Annex B-3 of the UNC in paragraph G4.3.2(b)(i) and paragraph G4.3.2(c) shall be interpreted as a reference to Annex B-3 as incorporated into Part CII by Clause 1.1 of Part CII and Clause 5 of Part CII. | Check agains IGT176
CI | 20 | Unregistered Supply Points | Paragraphs 4.4.3(a)(ii), 4.4.3(b)(ii), 4.4.4(b), 4.4.5(c)(ii) and 4.4.10(a)(ii) shall not apply the words “and Energy Balancing Charges” shall be removed from paragraph 4.4.6(c) paragraph 4.4.6(d) shall not apply | Check agains IGT176
CI | 22 | Vacant Sites | The reference to H2 in paragraph 10.2.3 (a) shall be interpreted as a reference to H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F of this Code. | In the UNC, 10.2.3 (a) does not exist - think its meand to be 10.3.2(a).
CII | 1.1 | DM Capacity | This clause disapplies certain requirements in the IGT UNC relating to seasonal large supply points, particularly in the context of DM and seasonal LDZ capacity. The reference relates to paragraph 7.5C of Annex B3 of the UNC, which appears to deal specifically with seasonal large supply points. Believed that this is a GDN-specific concept. | Review group note that it is important to note the specific disapplication.
CII | 1.1 | DM Capacity | Clause 1.1 includes a cross reference relating to paragraph 4.2 of Annex B3 of the UNC, which is believed to be incorrecly marked in quotation marks. | Review the paragraph which looks to be a statement within the Code rather than replacement text.
CII | 2 | Minimum Capacity | References to shared Supply Meter Points and applicable commodity rates found in Paragraph 2, which do not apply in the IGT UNC. | Review the references.
CII | 3.1 | Supply Point Offtake | Paragraph 3, has a disapplication of a section relating to non-CSS Supply Meter Points (Paragraph 4.7 of Annex B-3). | Review Group agreed this needs to be checked against the legal drafting for IGT176, as this Modification will introduce non-CSS supply meter points into the IGT UNC.
CII | 4.1 | Absolute Requirement | A reference to Paragraph 5.4 of Section B Annex B-3 of the UNC was noted to not apply and that this relates to shared supply points. References to the LCAA were noted. | Shared supply points do not apply under the IGT UNC. LCAA references are specific to the IGT UNC.
CII | 5 | IGT Determination of Feasibility | A number of references to LCAA. | LCAA are IGT specific.
CII | 5.2 | IGT Determination of Feasibility | Query on Clause 5.2, whether the correct defined term should be “New Supply Meter Point” rather than “Proposed Supply Meter Point”. | Code Administrator clarified that, under the definitions, a new Supply Point is any proposed Supply Point, and that this explicitly includes a New Supply Meter Point.
CII | 5.2 | IGT Determination of Feasibility | Queried 5.2(a), noting that Prevailing Supply Meter Point is capitalised, but is not a defined term in the UNC. | COde Administrator confirmed that it is a not a defined term in the IGT UNC or the UNC. However Prevailing is defined in the UNC and the IGT UNC. Review Group agreed that it is likely that two defined terms, “Prevailing” and ”Supply Meter Point”, have been pushed together.
CII | Defined Term | Provisional Maximum Supply Point Capacity. | Highlighted the defined term Provisional Maximum Supply Point Capacity, and that there is a difference to the definition in the UNC. | Noted that the UNC definition refers to the LDZ CSEP Ancillary Agreement (LCAA), the IGT UNC definition refers to NExA. Agreed that this needs to be checked.
CII | 5.4(b) | IGT Determination of Feasibility | Highlighted a reference to Annex B3, Paragraph 6.4 of the UNC in 5.4(b). They added that the referenced clause includes the word “Transporter”. | Queried the need to stipulate that Transporter means Large Transporter in this scenario, which has been done in other sections of the IGT UNC. BM noted a similar amendment to be made in 6.1.
CII | 5.5 | IGT Determination of Feasibility | Highlighted the use of firm DM Supply Point and questioned whether it was a defined term. | Term to be checked alongside UNC.
CII | 5.5-5.10 | IGT Determination of Feasibility | There are a lot of differences between the UNC and IGT UNC, in relation to Ratchet. Code Adminstrator added that they have been looking into this area of Code for Xoserve in relation to a new UNC Modification that has been raised. | Agreed there is IGT UNC nuance in this section, especually in realtion to 5.10, as it has been done in IGT UNC invoicing style. Code Administrator noted that this area of Code may need checking as 5.5 – 5.10 differs in its wording compared to the UNC, though the look to be doing the same thing.
CIII | 1 | Designation of Interruptible Supply Points | References to LCAA. | LCAA are IGT specific.
CIII | 1 | Defined Term | A member asked about Interruptible Supply Points, a defined term mentioned in Part CIII Clause 1. | Review Group were informed that these were historically used as a mechanism to support network security at capacity pinch points. Under the scheme, organisations could offer to curtail their gas usage, typically through an auction like process where they set a price at which they were willing to give up gas supply. GDNs could then choose to interrupt those supplies if needed, particularly during capacity constraints. It was added that interruptible supply was once common at known capacity pinch points but is now rarely used, primarily because networks have reinforced capacity in those areas. In relation to IGTs, these networks typically have newer infrastructure with capacity well in excess of demand, meaning the same constraints are unlikely to arise. A member noted that, regardless of current usage, interruptible supply definitions and related provisions still exist in the UNC and therefore it would be sensible to retain the existing carve out. The Proposer noted that this had been a point of debate within UNC discussions and suggested that its long term value would likely need to be considered during future code consolidation, rather than resolved immediately. Review Group agreed that this will require a more detailed review
CIII | 1.3(b) | Designation of Interruptible Supply Points | Highlighted that 1.3 (b) refers to Part CII and its application of DM Capacity. This in turn is the disapplication of Seasonal Large Supply Points compliance with Seasonal LDZ Capacity. | This is IGT specific.
CIII | 2.1 | Requirements as to Interruptible Supply Points | Query raised under 2.1 regarding why a registered user on an IGT network would be expected to provide certain details to the Large Transporter. | The Group were informed that, for large sites, there is often a more complex, behind the scenes relationship between parties. It was noted that arrangements such as tripartite or local agreements can exist between the registered user, the IGT, and the Large Transporter. While the site may sit on an IGT network, its operation can have impacts on the connected GDN, meaning the Large Transporter may need visibility of certain information.
CIII | 2.2 | Requirements as to Interruptible Supply Points | Some definitions that were uknown were noted, Transcode Nominated Interruption (TNI) and Network Sensitive Load (NSL) in 2.2 but added that these are no longer defined terms in the UNC, and they could only find reference to them in the transition document. | It was suggested that it would be good to gain more knowledge of the interruptible supply point scheme within the Review Group.
CIII | 3.1 | Further Provisions in respect of Interruptible Supply Points | References to LCAA. | LCAA are IGT specific.
CIII | 3.1(e) | Further Provisions in respect of Interruptible Supply Points | Noted 3.1(e) and that it appears to exclude liability for a range of factors relating to Interruptible Supply Points. | Group unsure whether this provision remains appropriate or needs updating, particularly given the ongoing uncertainty and earlier discussion around the current relevance and use of Interruptible Supply Points.
CIV | 2 | Effect of Deregistration | 2 Effect of Deregistration 2.1 Until the Deregistration Request is accepted in accordance with paragraph 5.6.1 (c) of Section G of the UNC, the Registered User shall remain liable for Transportation Charges in respect of the Supply Point. 2.2 A User shall cease to be the Registered User of a CSS Supply Point in accordance with paragraph 5.1.3 of Section G of the UNC as incorporated into Part CI by Clause 8.2 of Part CI. | Just to note that UNC discusses non-CSS sites as well here (although the IGTUNC does not include any references to these supply points which is correct)
CIV | 3.1 | Isolation | 3 Isolation 3.1 General For the purposes of this Clause 3.1 the provisions of paragraph 7.1 of Section G of the UNC shall apply 3.2 Effect of Isolation For the purposes of this Clause 3.2 the provisions of paragraph 7.2 of Section G of the UNC shall apply with the following changes: the reference to Section H2 of the UNC in paragraph 7.1.3 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F. 3.3 For the avoidance of doubt, isolation of a Supply Meter Point for the purposes of enabling Siteworks to be carried out shall not be Isolation. | The Document: GDN/PM/GT/4: Management Procedure for: Sealing of Equipment to Protect Against Theft of Gas and Tampering is referenced here within the UNC that the IGTUNC points to. This document includes IGTs (via the INA) and is Written into Code No action here but just that the Code references this procedure which is outside the management of the IGT-UNC Administrator (and any newly appointed Code Manager)
CIV | 6.1 | Re-establishment | the reference to paragraph 7.2.4 of Section G of the UNC in paragraph G8.1.2 shall be interpreted as a reference to paragraph 7.2.4 as incorporated in this Part CIV by Clause 3.2 the reference to Section H2 of the UNC in paragraph 8.1.4 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.2.1(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.1(b)(i) the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(b)(iii) paragraph 8.3.1(c) shall not apply the reference to "Capacity Charges and Customer Charges" in paragraph 8.3.1(d)(i) shall be interpreted as a reference to "Transportation Charges" the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(d)(iii) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.3(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.4.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.1.2(b) an Offtake Reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.4.1(b) the words "and Energy Balancing" shall be deleted from paragraph 8.5.1(b) the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" the words "and Energy Balancing Charges" shall be deleted from paragraph 8.5.2(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) paragraphs 8.5.3 shall not apply the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.1(b) | There are some references to Non-CSS sites which IGTs may also want to omit - e.g. 8.3.1(a)(ii) and 8.3.1(b)(ii)(2)
CIV | 7 | Disablement of Supply | 7.1 If a Supply Meter Point is Isolated and: (a) the Supply Meter Installation remains physically connected to the Pipeline, the Pipeline User who is the Registered User at the time of such Isolation shall ensure that upon Supply Point Deregistration such Supply Meter Installation is physically disconnected from the Pipeline within twelve months from the date of such effective Supply Point Deregistration; and (b) If the Supply Meter Installation is not physically disconnected within the period specified in paragraph (a) above the Pipeline Operator will (where no supply of gas is required at the Supply Meter Points) take such actions to disable the flow of gas and the Pipeline User who was the Registered User at the time of Supply Point Deregistration shall pay the Pipeline Operator's costs (as contained in the Transportation Statement) in respect thereof. | UNC on this also includes the following within Section G 7.5.2: "For the purposes of the REC, where at a CSS Supply Meter Point the Supply Meter Installation has been physically disconnected or the Transporter has acted to disable the flow of gas (and the CDSP has been so informed) the CDSP will send a Synchronisation Message to the CSS Provider to that effect." Was this omitted for a reason or should it be inlcluded? RG008 group to discuss.
CV | 4 | Pipeline Design Maximum Volume | 4 Pipeline Design Maximum Volume 4.1 Pipeline Users acknowledge that the Pipeline has not been designed to convey more gas than a particular maximum volume ("the Pipeline Design Maximum Volume"). 4.2 Nothing in the Code shall require the Pipeline Operator to agree to the connection of any New Supply Meter Point which would be such as to increase the Aggregate Pipeline Capacity to exceed the Pipeline Design Maximum Volume. 4.3 For the purposes of the Code "Aggregate Pipeline Capacity": is the sum of the amounts of the Pipeline Capacity determined as held by all Pipeline Users at the Connection Point in accordance with Part B. | The entirety of this section does not exist in UNC. No action - just to raise awareness.
CIV | 2 | Effect of Deregistration | This area of code does not reference non-CSS Supply Points. | The equivalent section in the UNC refers to non-CSS Supply Points, whereas it does not in the IGT UNC. It was noted that whilst non-CSS Supply Points are currently not a concept in the IGT UNC, it will be introduced when IGT176 is implemented. Code Administrator advised that they would check the proposed legal text for IGT176 to see if this paragraph is amended. It was noted that there are other clauses relating to non-CSS Supply Points in the equivalent section of the UNC that have been omitted from the IGT UNC, which may need to be examined.
CIV | 3.1 | Isolation | Clause 3.1 currently points to UNC TPD G 7.1. It was confirmed that the document referenced in 7.1 is applied to IGTs. | UNC TPD G 7.1 which refers to a live external management procedure document which is managed outside of the UNC. It was asked whether the document specifically refers to IGTs or IGT sites. It was confirmed that it does. It was added that the document is managed by the Institution of Gas Engineers and Managers (IGEM).
CIV | 6 | Re-establishment | 6.1 For the purposes of this Clause 6.1, the provisions of paragraph 8 of Section G of the UNC shall apply with the following changes: the reference to paragraph 7.2.4 of Section G of the UNC in paragraph G8.1.2 shall be interpreted as a reference to paragraph 7.2.4 as incorporated in this Part CIV by Clause 3.2 the reference to Section H2 of the UNC in paragraph 8.1.4 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.2.1(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.1(b)(i) the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(b)(iii) paragraph 8.3.1(c) shall not apply the reference to "Capacity Charges and Customer Charges" in paragraph 8.3.1(d)(i) shall be interpreted as a reference to "Transportation Charges" the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(d)(iii) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.3(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.4.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.1.2(b) an Offtake Reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.4.1(b) the words "and Energy Balancing" shall be deleted from paragraph 8.5.1(b) the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" the words "and Energy Balancing Charges" shall be deleted from paragraph 8.5.2(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) paragraphs 8.5.3 shall not apply the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.1(b) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.6.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.3(c)(ii) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.7.2(a) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.2(b) the words “and in respect of Energy Balancing Charges for which the User is liable pursuant to paragraph 8.2.1(b) an Offtake Reconciliation will be carried out in accordance with Section E6.” shall be deleted from paragraph 8.7.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.4(c) | Clause 6 omits some references in the equivalent UNC section made to non-CSS Supply Points which will need to be reviewed ahead of the implementation of IGT176.
CIV | 6.1 | Re-establishment | 6.1 For the purposes of this Clause 6.1, the provisions of paragraph 8 of Section G of the UNC shall apply with the following changes: the reference to paragraph 7.2.4 of Section G of the UNC in paragraph G8.1.2 shall be interpreted as a reference to paragraph 7.2.4 as incorporated in this Part CIV by Clause 3.2 the reference to Section H2 of the UNC in paragraph 8.1.4 shall be interpreted as a reference to Section H2 but only to the extent that it applies to the calculation of NDM Supply Meter Point Demand pursuant to Part F the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.2.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.2.1(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.1(b)(i) the words "in accordance with the Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(b)(iii) paragraph 8.3.1(c) shall not apply the reference to "Capacity Charges and Customer Charges" in paragraph 8.3.1(d)(i) shall be interpreted as a reference to "Transportation Charges" the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.3.1(d)(iii) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.3.3(c) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.4.1(a) the words "and Energy Balancing Charges" and "and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to this paragraph 8.1.2(b) an Offtake Reconciliation will be carried out in accordance with Section E6" shall be deleted from paragraph 8.4.1(b) the words "and Energy Balancing" shall be deleted from paragraph 8.5.1(b) the words “NTS Exit Commodity Charges, LDZ Commodity Charges and Commodity Variable Component of Customer Charges in paragraph 8.5.2(a) shall be interpreted as a reference to "Transportation Charges" the words "and Energy Balancing Charges" shall be deleted from paragraph 8.5.2(a) the words “in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)” shall be deleted from paragraph 8.5.2(c) paragraphs 8.5.3 shall not apply the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.1(b) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.6.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.6.3(c)(ii) the words "in accordance with Siteworks Terms and Procedures (as defined in Section Annex G-3)" shall be deleted from paragraph 8.7.2(a) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.2(b) the words “and in respect of Energy Balancing Charges for which the User is liable pursuant to paragraph 8.2.1(b) an Offtake Reconciliation will be carried out in accordance with Section E6.” shall be deleted from paragraph 8.7.2(b) the words "and Energy Balancing Charges" shall be deleted from paragraph 8.7.4(c) | Noted that Energy Balancing Charges and Siteworks Terms and Conditions are disapplied from 6.1
CIV | 7 | Disablement of Supply | 7.1 If a Supply Meter Point is Isolated and: (a) the Supply Meter Installation remains physically connected to the Pipeline, the Pipeline User who is the Registered User at the time of such Isolation shall ensure that upon Supply Point Deregistration such Supply Meter Installation is physically disconnected from the Pipeline within twelve months from the date of such effective Supply Point Deregistration; and (b) If the Supply Meter Installation is not physically disconnected within the period specified in paragraph (a) above the Pipeline Operator will (where no supply of gas is required at the Supply Meter Points) take such actions to disable the flow of gas and the Pipeline User who was the Registered User at the time of Supply Point Deregistration shall pay the Pipeline Operator's costs (as contained in the Transportation Statement) in respect thereof. | UNC Section G 7.5.2 has been omitted from 7, not clear as to why as it refers to CSS Supply Points. Code Administrator confirmed that they would check this clause. The Chair noted that 7 does not point to the equivalent UNC section at all. It was noted that while similar wording appears elsewhere, CSS-related concepts are only lightly referenced in IGT UNC, and the relevant processes (e.g. synchronisation messages) are not clearly embedded, suggesting the omission may be accidental. The Chair queried whether the process is already being operationally performed despite not being in code, raising a potential misalignment between practice and governance. It was indicated this was likely happening but could not confirm and agreed to take this away to the operations team for clarification. The group agreed that, if such activities are being carried out in practice, the Code should be updated to reflect them, potentially via an earlier modification rather than waiting for wider consolidation work
CV | 1.2 | General | 1.2 In respect of any Siteworks: (a) the "Siteworks Applicant" is the Pipeline User or other person who has requested that the Siteworks be undertaken; (b) the "Siteworks Contract" is the contract between the Pipeline Operator and the Siteworks Applicant under which the Pipeline Operator is to undertake the Siteworks; (c) the "Completion Date" is the date of substantial completion (as defined or described in the Siteworks Contract) of the Siteworks; (d) the "Target Completion Date" means the intended Completion Date of the Siteworks as specified in or determined under the Siteworks Contract; (e) "Connections Work" is the connection of the service pipe (or any part thereof) undertaken by a person other than the Pipeline Operator for the establishment of a New Supply Meter Point on the Pipeline; (f) "Meter Fix Date" is the date that has been notified to the Pipeline Operator, as the date upon which a Supply Meter has been installed at a New Supply Meter Point. | Clause 1.2e, Connections Work is defined differently in the IGT UNC and UNC. Code Administrator suggested the variation may simply have evolved over time without alignment, while the Chair observed that the wording could imply a meaningful distinction—potentially differentiating between work undertaken by the Pipeline Operator and work carried out by other parties.
CV | 2.1 | New Supply Meter Points | 2.1 Where the Pipeline Operator: (a) undertakes Siteworks for the establishment of a New Supply Meter Point, the Pipeline Operator will notify the CDSP of the New Supply Meter Point and the Supply Meter Point Reference Number and the CDSP will enter such information into the Supply Point Register with effect from the date specified in the Siteworks Contract or (if no date is so specified) the date on which the Siteworks is completed; (b) is notified that the Connections Work is to be or has been undertaken then on or as soon as reasonably practicable after the relevant date (in accordance with Clause 2.2) the Pipeline Operator will notify the CDSP of the New Supply Meter Point and the Supply Meter Point Reference Number and the CDSP will enter such information into the Supply Point Register and will for the purposes of this Part C be treated as a Supply Meter Point. | Clause 2.1(a), the UNC replicates the new Supply Meter Point and CDC notification, but does not replicate the effective date based on Siteworks.
CV | 2.4 | New Supply Meter Points | 2.4 For the purposes of the Code, paragraphs 3.4.1(d)(i), 3.4.1(e)(i)and 3.4.4 through 3.4.9 of Section G of the UNC will apply with the following changes Paragraph 3.4.6(b) shall not apply. The words “paragraph 5” in paragraph 4.3.7(a) shall be replaced with “paragraph 5 as incorporated into the Code by Part CI” Paragraph 3.4.7(b) shall not apply The reference to paragraph 5.13.16(a) of Section M of the UNC in paragraph 3.4.8(a)(i) and 3.4.8(a)(ii) shall be interpreted as a reference to paragraph 5.13.16(a) as incorporated into the Code by Clause 14.1 of Part E. Paragraph 3.4.8(d) shall not apply | Clause 2.4 disapplies UNC clauses relating to non-CSS Supply Meter Points.
CV | 3 | Undertaking Siteworks | 3.1 The Pipeline Operator will not be in breach of its obligation to make gas available for offtake at a Supply Meter Point where or to the extent that its ability to do so is impaired by reason of its carrying out any Siteworks in respect of that Supply Meter Point. 3.2 Where the Pipeline Operator carries out Siteworks at a Supply Meter Point comprised in a Supply Point whose Annual Quantity exceeds 73,200 kWh (2,500 therms) and the Siteworks Applicant is not the Registered User, the Pipeline Operator will, unless the Siteworks Applicant has requested the Pipeline Operator not to do so, notify the Registered User of the Siteworks where practicable before and in any event promptly upon completing such Siteworks. | Noted that Xoserve have recently alerted the Code Administrator of a need for a Modification to amend Paragraph 3.
CV | 4 | Pipeline Design Maximum Volume | 4 Pipeline Design Maximum Volume 4.1 Pipeline Users acknowledge that the Pipeline has not been designed to convey more gas than a particular maximum volume ("the Pipeline Design Maximum Volume"). 4.2 Nothing in the Code shall require the Pipeline Operator to agree to the connection of any New Supply Meter Point which would be such as to increase the Aggregate Pipeline Capacity to exceed the Pipeline Design Maximum Volume. 4.3 For the purposes of the Code "Aggregate Pipeline Capacity": is the sum of the amounts of the Pipeline Capacity determined as held by all Pipeline Users at the Connection Point in accordance with Part B. | Noted that Paragraph 4 is not replicated in the UNC. The Chair explained that the provision relates to how IGTs manage capacity limits agreed with the distribution network. IGTs operate within a pre-agreed capacity threshold set with the GDN and are responsible for monitoring and managing the total capacity of all connected sites to remain within that limit. This may involve restricting additional capacity or new connections if limits are approached. The Chair noted that while GDNs also manage capacity, they do so by applying for and booking capacity, rather than being given a set threshold.
L | All | All | See full code text | There are expected differences in referencing standard vs special Licence Conditions, reflecting Code-specific contexts.
L | 1 | Status of Modification Rules and Application | See full code text | IGT UNC references Standard Condition 9(5) of the Licence whereas the equivalent section of the UNC does not
L | 2 | Interpretation | See full code text | Contains a list of definitions, with several differences identified from the UNC. For example, the IGT UNC includes a definition for Affected Person, whilst the UNC defines Affected Party. Several items such as Alternate and Alternative Proposal are not defined in the UNC, although some of these are referenced in the UNC Modification Rules. The UNC also defines some terms in its equivalent section which are omitted from the IGT UNC, such as the Independent System Operator and Planner (ISOP).
L | 2 | Interpretation | See full code text | IGT UNC-specific documents are referenced, like the Best Practice Guidelines and Chairperson’s Guidelines. A member clarified that Chairperson’s Guidelines is referenced once in the UNC, 12.9.3(C), but is not a defined term. Another member noted that the UNC has a UNC Panel Chair Appointment Document. It was also noted that the closest equivalent to the Best Practice Guidelines is a Modification Proposal Guidelines document.
L | 2 | Interpretation | See full code text | The Chair noted that a definition of Consumers’ Representative includes the National Consumer Council, which is now defunct, so this definition will need to be reviewed.
L | 2 | Interpretation | See full code text | The Chair raised a concern regarding the definition of Code of Practice, noting that it appears to be tied specifically to the Code Administrator’s Code of Practice (CaCoP) and could unintentionally restrict the term’s use elsewhere in the IGT UNC. The Code Administrator clarified that the definition is explicitly limited to Part L only, meaning it does not apply more broadly across the IGT UNC.
L | 2 | Interpretation | See full code text | The Code Administrator advised that Fast Track Self-Governance Modification Report is not a defined term in the UNC, thought there is a reference in the UNC to a fast-track Special Licence Condition, in A11 Paragraph 24A.
L | 2 | Interpretation | See full code text | The definition of IGT Shipper Standing Work Group was questioned, suggesting that this should have been updated previously to IGT UNC Workstream. The Code Administrator noted a separate defined term of Work Group, which includes the IGT Shipper Standing Work Group. They highlighted the need to move towards a single defined term, with a clearer definition better reflecting current IGT UNC practices.
L | 2 | Interpretation | See full code text | The definition of Panel Chairperson was referenced, the UNC includes explicit provisions for appointing the Panel Chair, including that the individual requires approval from Ofgem, whereas this is not the case in the IGT UNC. The Chair and Code Administrator noted the difference in voting arrangements. In the UNC, the Chair is generally a non-voting member but can exercise a casting vote in the event of no majority, whereas in the IGT UNC, the Chair is explicitly a non-voting member with no casting vote provision.
L | 2 | Interpretation | See full code text | The Review Proposal definition was noted to reference 18.1.1, which is not an existing UNC clause. They suggested that the correct reference should be to 22.1.1.
L | 3 | Critical Friend | See full code text | Clause three has some equivalent provisions to what is in the UNC, but the UNC does not define Critical Friend. 3.1(e) and (f) were also referenced and I was noted that the UNC does not refer to assisting on Derogation Applications.
L | 4 & 5 | Composition of the IGT UNC Modification Panel & Period of Appointment and Alternatives | See full code text | While the IGT UNC and UNC Panel structure is broadly similar there are notable differences in representation, seat numbers and appointment. In the UNC there is also a fixed appointment cycle, this is not the case in the IGT UNC.
L | 6 & 7 | Determinations of and Conveying Meetings of the IGT UNC Modification Panel & Form of Meetings of IGT UNC Modification Panel | See full code text | There are equivalent provisions in the UNC on Meeting management, particularly in the notice period for meetings and paper dates. However, there are some differences. For example, the IGT UNC is flexible when reconvening non-quorate panel meetings while the UNC is more struck on when these can be rescheduled.
L | 8 | Minutes of Meetings of the IGT UNC Modification Panel | See full code text | With regards to minutes and recordings both Codes have similar expectations in practice but while the UNC requires meeting minutes are published 5 WDs after a meeting, the IGT UNC requires 10 WDs. However, the IGT UNC does publish in 5 WDs. There is also currently no provision under either Code for the use of AI for administrative purposes. However, both Codes use AI to aid in the production of meeting minutes.
L | 9 | Provision of Information | See full code text | Incorrect reference highlighted, pointing to 28.7 when it should be 28.6.
L | 10 | Modification Proposals | See full code text | There are several structure inconsistencies and different definitions. Also, there are differences regarding the CCSG and the ability for them to raise change in the IGT UNC vs the UNC. References to European Modification Proposals is also defined in IGT UNC and not the UNC.
L | 10, 11, 12 | Modification Proposals, Self-Governance Modification Proposals, Fast Track Self-Governance Modification Proposals | See full code text | For Content of Modification Proposals, Fast Track and Self-governance, the equivalent UNC sections have more detailed and extensive provisions, particularly for Self-Governance. The wording/structure differs enough that a targeted comparison exercise is needed to understand practical impacts.
L | 13 | Modification Proposals made during a Significant Code Review Phase | See full code text | Both Codes include similar high-level provisions on Significant Code Reviews (SCRs), but UNC makes more frequent cross-references to these within other sections.
L | 14 | Circulation of Modification Proposals | See full code text | Circulation requirements for Modifications are largely consistent although UNC includes additional provisions (e.g. ISOP-related content) and is structured differently. On Panel handling of Modifications, UNC contains more explicit wording on discussion and determinations, whereas IGT UNC appears to capture similar intent but across different sections.
L | 15 | Alternative Proposals | See full code text | A key difference is in Alternative Modification Proposals. Under IGT UNC, alternatives can be raised and considered directly by the Workgroup, potentially without needing explicit Panel involvement, subject to notice periods. UNC also supports alternatives, but the terminology is less formally defined, and provisions are structured differently.
L | 16 | Withdrawal or Variation of Modification Proposals | See full code text | Further differences were identified in withdrawal and variation of Modifications. IGT UNC includes a formal definition of “variation request”, whereas UNC references it without IGT UNC also allows for withdrawn Modifications to be adopted by another party and continue, although this is not commonly observed in practice and there is no clear UNC equivalent.
L | 17 | Urgent Modification Proposals | See full code text | On Urgent Modifications, both Codes are broadly aligned in timelines, but UNC includes additional detail and references (e.g. ISOP, CDSP). The Chair noted that, in practice, the formal urgent process can be supplemented by informal/preparatory discussions with Ofgem to ensure efficiency. The Chair also clarified that IGT UNC does not include ISOP provisions by design, following earlier guidance that this was not required, as ISOP relates more to network-level (UNC) rather than retail-level (IGT UNC) decisions.
L | 18 | Discussion of Modification Proposals | See full code text | For Panel discussions, UNC Panel will need to consider other aspects that are not relevant to the IGT UNC, such as National Transmission System (NTS) Charging Methodology. The wording is thus very different and will require further review.
L | 19 | Modification Procedures - Work Group Assessment (Development) | See full code text | There are minor differences on Workgroup assessment/development, mainly on the number and makeup of members in attendance. Both Workstream and Workgroup meetings are terms within IGT UNC, which adds confusion. It was agreed that there needs to be a move to one clear name and definition for all Workgroup meetings.
L | 20 | Terms of Reference | See full code text | Some terms in Clause 19 are not replicated in the UNC, such as insufficient business and subgroup.
L | 21 | Legal Text for Modification | See full code text | In terms of legal text drafting, there are differences between the Codes. The IGT UNC places responsibility for legal text drafting on IGTs, but this is typically discharged in practice via contractual arrangements with the Code Administrator. UNC has additional supporting material, such as a legal text guidance document, which IGT UNC does not have.
L | 22 | Review | See full code text | The Review process is largely similar for both Codes, although in the UNC, these are called Requests instead.
L | 23 - 25 | Consultation Procedures, Further Consultation, Content of Modification Reports | See full code text | The core consultation framework is broadly aligned. However, several key differences were identified. The UNC includes additional detailed provisions involving CDSP and ISOP, particularly around responsibilities for preparing and submitting consultation materials, which are not present in IGT UNC. UNC also contains more extensive procedural detail overall, including how consultation inputs are managed. The IGT UNC includes references to self-governance classification, which were not evident in the equivalent UNC section (though may exist elsewhere). The processes for Draft and Final Modification Reports (D/FMRs) are largely aligned, excluding common differences in stakeholders between the Codes. The main differences occur in the later stages of the FMR, where UNC includes additional implementation and decision-making detail and more extensive content requirements (e.g. references to licence conditions, charging methodologies, and backstop timelines). IGT UNC is comparatively simpler and less prescriptive in these areas.
L | 26 | Authority Send Back | See full code text | There is a clear section on Authority send-back provisions in the IGT UNC, with no equivalent section in the UNC, instead referencing the concept more loosely via licence conditions.
L | 27 - 31 | Modification Proposal Implementation, General, View from the Authority, Self-Governance Appeal Procedures, European Modification Proposal Procedures and Significant Code Review Modification Procedures | See full code text | On Modification implementation, IGT UNC includes more detailed and prescriptive provisions, particularly around implementation dates and sequencing. UNC appears less prescriptive and more flexible, with fewer explicit rules and there was no clear like-for-like UNC equivalent identified for the IGT UNC implementation section. On pre-release and publication, IGT UNC includes a provision allowing up to 30 days post-implementation to publish updated Code, likely as a backstop in case of delays. In practice, publication typically occurs on the implementation date, and no equivalent UNC provision was identified. This requirement may reflect a legacy safeguard and is not current practice.
L | 32 | Consideration of Significant Code Review Authority Modification Proposals by the IGT UNC Operators and the Panel | See full code text | IGT UNC contains a dedicated section for SCR Modifications, whereas UNC does not have a single equivalent section, instead referencing SCRs in multiple areas.
L | 33 | Cross Code Implications and the Cross Code Steering Group Considerations | See full code text | UNC does contain a cross-code change section, but it is structured very differently to IGT UNC. UNC uses different terminology and defined terms (e.g. “principal energy code”, “lead code”, “relevant EC body”), whereas IGT UNC uses its own terminology. IGT UNC appears to include more explicit provisions around CCSG involvement, including roles in raising or progressing Modifications, which UNC does not clearly replicate. The Chair highlighted that IGT UNC CCSG provisions were introduced via SCR, meaning any differences are likely intentional and driven by policy decisions, rather than drafting anomalies.
O | 1.1 | - | See full code text | UNC does not introduce the Derogations and what is disclosed.
O | 1.1(a) | - | See full code text | IGTUNC States "This Section O sets out" - should this be "This Part O sets out"?
O | 1.2.1(a) | Defined Term | See full code text | “Derogation Eligibility Criteria” is IGT UNC specific definition, in reference to the IGT UNC Innovation Derogations Guidance.
O | 1.2.1(b) | Defined Term | See full code text | "Derogation Guidance Document" is an IGT UNC Ancillary Document. The UNC has the same, but in this case, it is IGT UNC specific.
O | 1.2.1(c) | Defined Term | See full code text | “Derogation Party" means in respect of an IGT UNC Derogation. Again, the UNC is UNC specific.
O | 1.2.1(d) | Defined Term | See full code text | “Excluded Code Provision” – excludes IGT UNC specifics. Again, the UNC is UNC specific.
O | 2.1.3(a) | Introduction | See full code text | IGTUNC calls out 'non-voting member', whereas UNC doesn't.
O | 2.1.3(b) | Introduction | See full code text | IGT UNC Code Administrator will provide critical friending for derogations, but no equivalent in the UNC.
O | 2.1.3(c) | Introduction | See full code text | IGT UNC Modification Panel is 8 business days after a copy has been received, whilst UNC Panel is 10 days.
O | 2.1.6 | Introduction | See full code text | Additional rejection reason listed in UNC "the Modification Panel is of the opinion the UNC Derogation Application is not in accordance with the applicable UNC Derogation Use Case; "
O | 2.1.6(b) | Introduction | See full code text | "Excluded Provision" is not a defined term in the IGTUNC yet is capitalised
O | 2.1.8(c) | Introduction | See full code text | IGT UNC Panel can invite a revised submission of a derogation (same as UNC Panel) but is time bound of when to put the derogation on the agenda – 8 business days.
O | 2.1.8(c) | Introduction | ….shall be invited to revise and re-submit the IGT UNC Derogation Application….. | Looks like this should be at the end of bullet b) raher than the start of c) (as it is in the UNC version)
O | 2.1.8(d) | Introduction | ….The IGT UNC Modification Panel may also determine additional consultation questions to be added to the standard consultation…... | This is not in the UNC version.
O | 2.1.9(b) | Introduction | See full code text | Call outs considerations for IGT UNC Panel for non-compliance against the Code. Not seen this equivalent with UNC. The specified assessments here are not included in the UNC version.
O | 2.1.9(c)iv) | Introduction | See full code text | This (requesting additional information and/or a further consultation post the initial consuiltation) is an additional step to the UNC process.
O | 2.1.10 | Introduction | See full code text | Requirement to publish on the website is additional step to the UNC process. Although UNC does state all Derogations are published on their website in their Guidance document. IGTUNC is more prescriptive in what detail should be notified to parties in bullets a-c.
O | 2.1.14(b) | Introduction | his paragraph 2' | Typo - 'his paragraph 2' should be 'this pararaph 2'
O | 2.1.15 | Introduction | "and matters will be deferred to the next scheduled meeting of the IGT UNC Modification Panel if they are not present." | This is not included in the UNC version
O | 2.1.16 | Introduction | "provision of this paragraph 1" | "provision of this paragraph 1" should this be "provision of this paragraph 2"?
O | 2.2.3 |  | Subject to paragraph 2.2.3 | Should this be 'subject to paragraph 2.2.4'?
O | 2.3 | Impact of UNC Derogation | See full code text | Impact of UNC Derogation – Evidently IGT UNC specific, as derogations applied in the UNC will also impact IGTs. Not necessarily vice versa.
O | 2.4 | IGT UNC Derogation Reporting and Cessation | See full code text | IGT UNC Derogation Reporting and Cessation – Not specified in the UNC but allows the IGT UNC Panel to request reports considering the derogation.
O | 2.5 | IGT UNC Derogation Use Cases | See full code text | IGT UNC Derogation Use Cases – This is specific use cases of derogation for the IGT UNC.
Derogations Guidance | 1 | - | - | UNC guidance includes an 'early engagement' / 'pre-derogation' step. IGTUNC doesn't.
Derogations Guidance | 3 | - | - | UNC guidance has a bit more detail on supporting evdience required (e.g. process maps) but IGTUNC has some info in Appendix B
Derogations Guidance | 4 | - | - | Two additional specified checks in UNC process: alignment with overarching strategic direction and safety. On safety, probably outcome is the same - that proposer would provide a statement, but is framed differently in terms of the Panel obligation.
Derogations Guidance | 4 | - | - | IGTUNC Mod Panel has 8 business days following closing of a consultation to recommend the approval of the derogation to the Authority - UNC has 10
Derogations Guidance | 5 | - | - | IGTUNC uses "Ofgem" when UNC uses "Authority"
Derogations Guidance | 7 | - | - | There are specified dates for publishing decision in UNC (at least 16 WD days prior to commencement).
Derogations Guidance | 7 | - | - | This report to the IGTUNC Panel every 6 months is not reflected in UNC
Derogations Guidance | 8 | - | - | Additional information in UNC that the Authority may revoke a Derogation early - this is not present in the IGTUNC guidance
Derogations Guidance | App. B | - | - | UNC Derogations Guidance Document Section 7 has additional details on this which might be beneficial to also include in IGTUNC version
O | All | - | - | Given that Code Administrator will be replaced by licenced Code Manager, reference will need to be changed throughout from CA to CM.
O | All | - | - | The IGT UNC Code Modification Panel will be replaced by Stakeholder Advisory Forum (SAF). Reference would need to change throughout.
O | All | - | - | Its also worth agreeing that the process and decision making on derogations detailed in Part O section 2 will transfer from IGT UNC Modification Panel to SAF.
RED text indicates updates from previous published version.